## Закрытое акционерное общество

## Научно-производственное предприятие

“Теплогазавтоматика“

## Gas Distribution Installation with Local

## Automation URGL-5 Ordering Data Sheet

Customer: Date:

Customer’s address:

Contact person:

Object name and location:

Phone: Fax: Equipment delivery date:

| Question | Answers |
| --- | --- |
| - WORKING AGENT INLET PARAMETERS |  |
| Working agent |  |
| Temperature, °С |  |
| Pressure, MPa |  |
| Fluctuation from nominal value, % |  |
| Density, kg/m3 |  |
| Agent volumetric flowrate, thousands. m3/day, max |  |
| Impurity content, mg/m3 |  |
| Particle size, µm, max |  |
| Fraction cut, %: - methane - ethane - carbon dioxide |  |
| - TECHNOLOGICAL PARAMETERS |  |
| Number of controlled and managed flowlines |  |
| Nominal diameters, mm: - main manifold - flow line - pressure discharge line - chemical collector |  |
| Dimansions, mm, max |  |
| 3. AUTOMATION SYSTEM REQUIREMENTS |  |
| - measure and logging of pressure, temperature and gas pressure drop across gas rate standard diaphragm |  |
| - measure and logging of pressure and pressure drop in flowlines |  |
| - automated (via presets) and manual mode adjustment of gas flowrate in flowlines |  |
| - distribution of chemicals between wells |  |
| - emergency warning on pressure and temperature fluctuation at main manifold, gas line pressure intolerance with well indication |  |
| transition of emergency signals at the upper control level, concerning main manifold pressure and temperature, flowline gas pressure, minimal temperature inside apparatus and technological blocks, intrusion in apparatus block |  |
| - automated control of temperature, pressure, pressure drop, gas flowrate |  |

Comments/Special requirements:

___________________________________________________________________________________________________________________

___________________________________________________________________________________________________________________

___________________________________________________________________________________________________________________

___________________________________________________________________________________________________________________

Please contact construction department of Research and Production Enterprise “Teplogazavtomatika” (Ufa):

Address: 450022, Ufa, Mendeleeva str., 137. Mailbox: 450078, Ufa-78, P.O.B. 40

Contact phones: (3472) 53-65-08, 79-80-19, 79-80-59, 92-50-02.

E-mail: neftemash@teplogaz.ru, teplogaz@teplogaz.ru