## Закрытое акционерное общество

## Научно-производственное предприятие

“Теплогазавтоматика“

## Flare Unit Ordering Data Sheet (Spray Tip)

Customer: Date:

Customer’s address:

Contact person:

Object name and location:

Phone: Fax: Equipment delivery date:

| # Burning medium type | ( ) | Gas | ( ) | Liquid | ( ) |  | Gas-Liquid mixture |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Discharge mode | ( ) | Constant | ( ) | Periodic | ( ) |  | Emergency |  |
| Pilot burner ignition | ( ) Manual ( ) Automated |  |  |  |  |  |  |  |
| Ignition control panel performance | ( ) | Weather-proof | ( ) | Flameproof | ( ) |  | Weather-proof and Flameproof |  |
| Prime burner gas | ( ) ( ) | Natural ( ) Propane ( ) Oil gas ( ) Fuel gas Sulphur content _____ % Pressure ______ (kg/cm2, kPa) Net calorific value____________ |  |  |  |  |  |  |
| Compressed air | ( ) | Yes –dry/wet | ( ) | NO Давление ___________ (kg/cm2, kPa) |  |  |  |  |
| Power |  | ( ______ V, _______ Hz, _____ Phase) |  |  |  |  |  |  |
| Supplied equipment |  |  |  |  |  | ( ) |  | Ignition system |
|  | ( ) | Stack | ( ) | Ladders |  | ( ) |  | Platforms |
| Flare unit general height ____________ Inlet pipe diameter ___________ Inlet pipe installation point height ___________ |  |  |  |  |  |  |  |  |

Flaring design parameters

|  |  | Max |  | Normal |  | Min |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Rate, nm3/day, kg/hr |  |  |  |  |  |  |  |
| Molecular weight |  |  |  |  |  |  |  |
| Temperature |  |  |  |  |  |  |  |
| Pressure (at stack inlet, excessive) MPa, kg/cm2 |  |  |  |  |  |  |  |
| Composition of discharge gas, % vol., % mass: |  |  |  |  |  |  |  |
| Heat radiation at stack foundation kW/m2 (BTU/hr ft2) | Unlimited personnel presence ( ) |  | 3 min personnel evacuation ( ) |  | 30 sec personnel evacuation ( ) |  | Full personnel presence prohibition ( ) |
|  | 1,9 (600) |  | 3,14 (1000) |  | 4,8 (1500) |  | 9,4 (3000) |

Max wind speed _________ Seismic zone № ______   Air temperature  оС: max ______    min ______

Comments/Special requirements:

___________________________________________________________________________________________________________________

___________________________________________________________________________________________________________________

___________________________________________________________________________________________________________________

___________________________________________________________________________________________________________________

___________________________________________________________________________________________________________________

Please contact construction department of Research and Production Enterprise “Teplogazavtomatika” (Ufa):

Address: 450022, Ufa, Mendeleeva str., 137. Mailbox: 450078, Ufa-78, P.O.B. 40

Contact phones: (3472) 53-65-08, 79-80-19, 79-80-59, 92-50-02.

E-mail: neftemash@teplogaz.ru, teplogaz@teplogaz.ru